## Slide 1
IBK412: Environmental Bioprocess Technology
By
Muaz bin Mohd Zaini Makhtar
Email: muazzaini@usm.my ANNEX Building, Room A401
1

## Slide 2
What moment you have the smile in your face, but honestly you don’t
like that photo at all? Mind to share what was the situation and why it
happened?
Go to www.menti.com and use the code 65 75 593

## Slide 3
Moment where I missed my smile.. huhu

## Slide 4
Moment where I missed my smile.. huhu

## Slide 5
Section Break

## Slide 6
Wastewater
WASTEWATER
DOMESTIC WASTE
INDUSTRIAL WASTE

## Slide 8
ASSIGNMENT (Due Date 5 NOv 5am)
Part A
State the percentage (%) composition inside the sludge for these following elements: - Macronutrient
- Micronutrient
- Trace element *Need to mention your type of wastewater and cite the source of your finding (Endnote/Mendelley).
Part B
State the recent function of sludge from WWTP: - Brick
- soil conditioner / fertilizer
Soil reclamation
Part C
Two other relevant application
*cite the source of your finding (Endnote/Mendelley)

## Slide 9
Allocation Marks (52/52 marks ~ 100 %)
Part A
Table for different type of wastewater (state the source of the sludge):
  macro (4 marks) , micronutrient (4 marks) and trace element(4 marks)
Part B ( 12 marks x 3 application = 36 marks)
Well elaborate the application in each sludge application(2)
the techniques used ; mechanism (6 marks)
the impacts toward yield/aims/ the efficiency (4 marks).
Part C
The ‘others’ application (2 marks)
**Usage of endnote/ mendelley (2 marks)

## Slide 10
REFRESH OF WASTEWATER TREATMENT

## Slide 15
Sludge Characteristic

## Slide 16
Value of Sludge Composition

## Slide 17
Sludge Digestion: Anaerobic

## Slide 18
Sludge drying bed: preparation
Filling the drying bed with sludge
Starting the
drying process

## Slide 20
Waste is Wealth

## Slide 21
Advance Method in wastewater Treatment
In 1910, a botany professor from University of Durham, UK, had proposed the idea of catalytic activity and conversion of microbes can generate electricity .
Then early in 1990s Allen and Bennetto reported that fuel cell became more attractive and the investigation on MFCs began to start

## Slide 22
Microbes Story

## Slide 37
Theoretical calculation
Let say IWK Sdn Bhd produces 500 L/d AD, 600 mg/L of COD, 14.7 kJ/g –COD (basis wastewater) The power would be:
Let say tariff Tenaga Nasional Berhad RM0.44/kW-h, how much IWK Sdn Bhd save the cost a year by having power at 0.51 kW/day?
**these calculation all assume 100 % energy recovery, not reasonable. As a goal, it is hope to recover 20 – 30 % of the energy.

## Slide 38
1 LED lamp = 3 Watt
LED can be lighted up=
= 17 LED throughout a year!
How to visualize the power we have instead you see the small amount of RM we managed to save?
We try to show in term of the application.
A wastewater company light their waste pond during night 7 pm to 7 am (12 h) using 3 W LED lamp. So how many LED lamp can be lighted?

## Slide 39
Lagoons

## Slide 40: Waste Stabilization Lagoons
A carefully designed structure
constructed to contain and to
facilitate the operation and
control of a complex process
of treating or stabilizing wastewater.

## Slide 42
Influent
Effluent
#1
#2
#3
Typical Lagoon System

## Slide 43
WASTEWATER
Water used to carry waste products away from homes, schools, commercial establishments, and industrial enterprises.

## Slide 44: TREATMENT PROCESS

## Slide 45: Waste Stabilization Lagoons “Treatment” Process
Natural Process
Same Process Which Occurs in a Natural Pond or Lake
Under Controlled Conditions

## Slide 46: Waste Stabilization Lagoons
Natural Process
Same as Mechanical Plants
Carefully Designed and Constructed
Must Be Operated Properly
Must Be Understood

## Slide 47: Waste Stabilization Lagoons
Physical Processes
“The Process” Involves:
Chemical Processes
Biological Processes
and

## Slide 48
Physical Processes
Evaporation
Seepage
Gas Exchange
Sedimentation
U.V. Radiation
SOLIDS

## Slide 49
Chemical Processes
Inorganic Activity
Precipitation Formation

## Slide 50
Wastewater “Treatment” Process
Mostly
BIOLOGICAL
*BACTERIA*

## Slide 51: BACTERIA Types
Bacteria that can use only oxygen that is “free” or not chemically combined.
Aerobic
Anaerobic
Bacteria that can live in the absence of “free” oxygen.
Facultative
Bacteria that use either “free” or combined oxygen.

## Slide 52: Zones in a Lagoon
AEROBIC
FACULTATIVE
ANAEROBIC

## Slide 53
SUN
O2
Aerobic Zone
(Dissolved Oxygen Present)
Facultative Zone
Anaerobic Zone (No Dissolved Oxygen Present)
Sludge
Sludge
Influent
Dike
O2
Zonal Relationships in a Lagoon

## Slide 54: Zonal Differences
Environments
Bacteria
Activities

## Slide 55: ANAEROBIC ZONE
Sedimentation
Stabilization
Organics
Bacteria
Organic Acids
Organic Acids
Carbon Dioxide (CO2)
Ammonia (NH3)
Hydrogen Sulfide (H2S)
Methane (CH4)
SOLIDS
Bacteria

## Slide 56: ANAEROBIC ZONE
Sedimentation
Stabilization
SOLIDS
Not All Of the Settled Solids Will Be Broken Down.
The Sludge Layer Will Increase Slowly Over the Life of the Lagoon

## Slide 57: AEROBIC ZONE
Bacteria Use Soluble Organics
Influent
Anaerobic Zone
Respiration

## Slide 58: RESIPRATION
Organic
Compounds
+
Oxygen
Carbon
Dioxide
+
Water
CH2O + O2
CO2 + H2O

## Slide 59
Food
Storage
Slime Layer
New Cells
Oxygen
Soluble Organics
Cell
Membrane
NH3
CO2
H2O
Adsorbed
Particle
Enzymes
Wastewater
(Absorption)

## Slide 61: FACULTATIVE ZONE
Organisms Utilize Dissolved Oxygen
or Combined Oxygen
Adapt to Changing Conditions
Continue Decomposition
During
Changing Conditions

## Slide 62
SUN
O2
Aerobic Zone
(Dissolved Oxygen Present)
Facultative Zone
Anaerobic Zone (No Dissolved Oxygen Present)
Sludge
Sludge
Influent
Dike
O2
Zonal Relationships in a Lagoon

## Slide 63: Importance of Sufficient Oxygen
Efficient Treatment
Preventing Odors

## Slide 64: Sources of Oxygen
ABSORPTION from ATMOSHERE
PHOTOSYNTHESIS
SUN
O2

## Slide 65: PHOTOSYNTHESIS
A Process
in which
PLANTS
Utilize Sunlight and Chlorophyll
to Convert
Carbon Dioxide and Inorganic
Substances
to
OXYGEN
and
Additional Plant Material

## Slide 66
OXYGEN SOURCES
Surface Aeration
Provides
6 Pounds
per Acre
per Day
Algae
(Photosynthesis)
Provides
100 Pounds
per Acre
per Day
At Lagoon D.O. of 2.0 mg/L
Temperature Permitting 8.0 mg/L
Each 60 Pounds of Algae
Produce 100 pounds Oxygen

## Slide 67
SUN
ALGAE
OXYGEN
BACTERIA
CARBON
DIOXIDE
Symbiotic
Cycle
Photosynthesis
Respiration

## Slide 68
SUN
O2
Aerobic Zone
(Dissolved Oxygen Present)
Facultative Zone
Anaerobic Zone (No Dissolved Oxygen Present)
Sludge
Sludge
Influent
Dike
O2
Zonal Relationships in a Lagoon

## Slide 69
Anaerobic
Bacteria
Acid
Formers
Methane
Formers
Aerobic
Bacteria
Algae
O2
CO2
Dead Cells
By-Products
ACTIVITY IN FACULTATIVE PONDS

## Slide 70
Influent
Effluent
Algae and Aerobic Bacteria
Facultative Bacteria
Anaerobic Bacteria

## Slide 71: FACTORS THAT AFFECT THE TREATMENT PROCESS
Influence of Wind
Adds Oxygen
Increases Mixing
Must Be Controlled
By Minimizing Accumulations
of Material On, In, or Around the Lagoon

## Slide 72: FACTORS THAT AFFECT THE TREATMENT PROCESS
Influence of Light
Photosynthesis
Disinfection
SUN
Must Be Controlled
By Minimizing Accumulations
of Material On, In, or Around the Lagoon

## Slide 73: FACTORS THAT AFFECT THE TREATMENT PROCESS
Growth of Algae
D.O. Saturation
Must Be Considered
Rate of
Bacterial Activity
Aerobic
Facultative
Anaerobic
O2
Influence of Temperature

## Slide 74: FACTORS THAT AFFECT THE TREATMENT PROCESS
Daily Fluctuations
Dissolved Oxygen
pH
SUN
Must Be Considered
Temperature
Aerobic
Facultative
Anaerobic
O2
CO2

## Slide 75: SEASONAL VARIATIONS
Maximum Algae
And Protozoan
Growth
Light
High Temp
Maximum
Bacterial
Oxidation
Summer To Fall
High Algae Vol.
High D.O.
Low B.O.D.
Alkaline pH
Low NH3-N
Low Soluble P
No Odors
Sludge Layer
CO2
Phosphorus
Organic Nitrogen

## Slide 76: SEASONAL VARIATIONS
Minimum Algae
And Protozoan
Growth
Reduced Light
Low Temp
Minimum
Bacterial
Oxidation
Winter To Early Spring
Low Algae Vol.
Low D.O.
High B.O.D.
Near pH 7
High NH3-N
High Soluble P
Possible Odors
Sludge Layer
CO2
Phosphorus

## Slide 77: SEASONAL VARIATIONS
Transition Periods
Optimum for Discharging
Within Permit Limits
High Stream Flows - Dilution
High D.O. - Lagoon and Receiving Stream
Minimal Human Contact
Spring and Fall

## Slide 78: ADVANTAGES of LAGOON SYSTEMS
1. Economical to Construct & Operate.
2. Low Monitoring & Control Requirements.
3. Rapid Recovery from “Shock” Loads.
4. Low Energy & Chemical Usage.
5. Low Mechanical Failure.
6. Minimal Sludge Disposal.
7. Long Life.

## Slide 79: DISADVANTAGES of LAGOON SYSTEMS
1. Large Land Usage.
2. Low Control Options.
3. Operations Dependant on Climate.
4. Often High Suspended Solids.
5. Seasonal Odors.
6. Possible Ground Water Contamination.
7. Not Good In High Loading Situations.

## Slide 80: RESULTS of PROCESS
Public Health Protected
Pathogens Removed
Environment Protected
Characteristics of Wastewater Changed
End Products Stable
Process Itself Is Not Offensive

## Slide 82
GOOD RESULTS
IF
Process Is In Balance
Properly Designed Facility
Process Is Controlled
System Is Maintained

## Slide 83: Waste Stabilization Lagoons
A carefully designed structure
constructed to contain and to
facilitate the operation and
control of a complex process
of treating or stabilizing wastewater.

## Slide 84
One Very Important Tool of
Design and Operation
Is The Ability and Use of
Series or Parallel
Flow Through the System

## Slide 85
Series
1
2
OR
Parallel
1
2

## Slide 86
Influent
Effluent
#1
#2
#3
Typical Lagoon System
X
X
X
SERIES OPERATION

## Slide 87
Influent
Effluent
#1
#2
#3
Typical Lagoon System
X
X
PARALLEL OPERATION

## Slide 88
Series
1
2
Placing Majority of Load on First Cell
Summer Operation
Parallel
1
2
Dividing Organic Load Between At Least Two Cells
Winter Operation

## Slide 89: Loading
Amount Applied
to the
Treatment Process
Related to the SIZE of the System
For Lagoons
Surface Area of the System

## Slide 90: Loading
Amount Applied
to the
Treatment Process
Population Loading
Hydraulic Loading
Organic Loading

## Slide 91: POPULATION LOADING
Number of Persons per Acre
General
Michigan
Area of Lagoon (Acres)
=
Population Served (persons)
50 to 500 Persons per Acre
100 Persons per Acre

## Slide 92: Hydraulic Loading
Flow Rate
Inches per Day
Gallons per Day (gpd)
OR
Million Gallons per Day (MGD)
Influent Rate (gallons per day)
Pond Volume (gallons per inch)
=
VOLUME of Wastewater to be Treated

## Slide 93
A lagoon have 350 m long, 230 m width, and operating depth 5 m.
  Find surface area of median depth
  350 m x 230 m = 80,500 m2
  Calculate operating volume in m3
  80,500 m2 x 5 m = 402,500 m3
  convert into litre (1m3 = 1000 L) so become 402,500,000 L
  Calculate litre per metre of depth
  402,500,000 L / 5 m = 80,500,000 L/m
  How many metres would the water drop if 2.35x10^3 m3 were discharged?
  2350 m3 -> 2,350,000 L
  2,350,000 L / (80,500,000 L/m) =0.291 m

## Slide 94
A lagoon have 350 m long, 230 m width, and operating depth 5 m.
  Calculate litre per metre of depth
  402,500,000 L / 5 m = 80,500,000 L/m
  How many metres would the water drop if 2.35x10^3 m3 were discharged?
  2350 m3 -> 2,350,000 L
  2,350,000 L / (80,500,000 L/m) =0.291 m